REMINDERS – PREVENTION OF FIRE HAZARDS

1.	SMOKING – Know the smoking policy for the building.

2.	EXTENSION CORDS:

- NEVER join extension cords.

- USE only one device per cord.

- INSPECT all cords visually. Do not use any which are frayed, worn or non-approved.

- DO NOT conceal cords.

3.	ELECTRICAL EQUIPMENT:

- REPORT any abnormalities such as overheating, etc.

- NEVER tamper with equipment or try to override safety devices.

- TURN OFF when not in use.

- COFFEE MAKERS – DO NOT leave on for prolonged periods.

4. STORAGE:

- STORAGE will never clutter or restrict a means of egress.

- STORAGE will never be higher than 50 cm below the lowest portion of a sprinkler system.

- NEVER store flammable liquids with paper products, etc.

- USE only designated storage areas.

- ENSURE hazardous materials are properly labelled.

- MAKE SURE an appropriate extinguisher is within easy reach.

5.	PERSONAL HABITS:

a. DO NOT allow fire doors to be wedged open for any purpose. Remove any wedges found.

13-D-7-1/2	December 2004

13-D-7-2/2	December 2004

REPORT any fire violations to the manager/supervisor of the location immediately.

- LIMIT the use of flammable liquids. Follow safe handling and disposal practices.

- KEEP stairways, landings, hallways, passageways and exits clear of obstructions and combustible refuse at all times.

- MAINTAIN access to fire hose cabinets, portable extinguishers, and other fire protection equipment at all times.